## ECTS Form
ECTS COURSE DESCRIPTION FORM
PART I (Senate Approval)
| Offering School | Antalya Bilim University - Faculty of Engineering and Natural Sciences |  |  |  |  | Offering Department |  | Electrical and Electronics Engineering
| Program(s) Offered to | Electrical and Electronics Engineering
| Course Name | Power system Analysis |  |  |  |  | Course Code |  | EE 486
| Level of Course | Undergraduate |  |  |  |  | Type of Course |  | Theory
| Language of Instruction | English |  |  |  |  | ECTS Credits |  | 5
| Hours per Week | Lecture: | 3 |  |  | Practical: |  |  | Studio:
|  | Laboratory: | 0 |  |  | Recitation: |  |  | Other:
| Pre-requisites | None |  |  |  |  | Co-requisites |  | None
| Registration Restriction | None |  |  |  |  | Grading Mode |  | Letter Grades
| Educational Objective | "The course aims to introduce power system, power generator and transformers modeling and operation. The students will learn Per Unit system of calculations; Transmission line parameters, resistance, inductance and capacitance; Steady State operation of transmission line, short, medium and long lines; Load Flow study, Gauss-Seidel and Newton-Raphson iterative methods; Symmetrical fault analysis, symmetrical components, unsymmetrical fault analysis. "
| Course Description | "The course covers power system analysis techniques and theorems to analyze systems composed of generators, transformers and transmission lines under AC sources. "
| Learning Outcomes | LO1 | Modeling the power system components
|  | LO2 | Modeling generators, Transmission lines and transformers
|  | LO3 | Learning the three phase power systems and power computations
|  | LO4 | Learning Per-unit system of calculations and change of base
|  | LO5 | Learning Power-flow analysis
|  | LO6 | Analysing different faults in power systems
PART II (Faculty Board Approval)
|  |  | Program Outcomes |  |  |  | LO1 | LO2 | LO3 | LO4 | LO5 | LO6 | LO7
| Basic Outcomes (University-wide) | PO1 | Ability to communicate effectively and write and present a report in Turkish and English. |  |  |  | 2 | 2 | 2 | 2 | 2 | 2
|  | PO2 | Ability to work individually, and in intra-disciplinary and multi-disciplinary teams. |  |  |  | 2 | 2 | 2 | 2 | 2 | 2
|  | PO3 | Recognition of the need for life-long learning and ability to access information, follow developments in science and technology, and continually reinvent oneself. | bar: LO1 to LO6
|  | PO4 | Knowledge of project management, risk management, innovation and change management, entrepreneurship, and sustainable development. | bar: LO1 to LO6
|  | PO5 | Awareness of sectors and ability to prepare a business plan. |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | PO6 | Understanding of professional and ethical responsibility and demonstrating ethical behavior. | bar: LO1 to LO6
| Faculty Specific Outcomes | PO7 | Ability to develop, select and use modern techniques and tools necessary for engineering practice; Ability to use information technologies effectively. |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
|  | PO8 | Knowledge of the effects of engineering practices on health, environment and safety in universal and social dimensions and the problems of the age; awareness of the legal consequences of engineering solutions. | bar: LO1 to LO6
|  | PO9 | Ability to identify, define, formulate and solve complex engineering problems; ability to select and apply appropriate analysis and modeling methods for this purpose. |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
| Program Specific Outcomes | PO10 | Qualified knowledge of mathematics, science and related engineering discipline; ability to use theoretical and practical knowledge in these areas in complex engineering problems. |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
|  | PO11 | Ability to design a complex system, process, device or product under realistic constraints and conditions,in such a way as to meet the desired result; ability to apply modern design methods for this purpose. |  |  |  | 2 | 2 | 2 | 2 | 2 | 2
|  | PO12 | Ability to design experiment, conduct experiments, collect data, analyze and interpret results to investigate complex engineering problems or discipline-specific research topics. |  |  |  | 2 | 2 | 2 | 2 | 2 | 2
PART III (Department Board Approval)
| Course Contents, Contribution of Course Contents to Learning Outcomes, and Methods for Assessing Learning of Course Contents | Subject | Week | Details of Course Contents |  |  | LO1 | LO2 | LO3 | LO4 | LO5 | LO6 | LO7
|  | S1 | 1 | Introduction fundamentals and conventions |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S2 | 2 | Introduction fundamentals and conventions |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S3 | 3 | Models for short transmission lines generators and transformers |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S4 | 4 | Models for short transmission lines generators and transformers |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S5 | 5 | Transmission line models and performance |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S6 | 6 | Transmission line models and performance |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S7 | 7 | Power-flow analysis |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S8 | 8 | Power-flow analysis |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S9 | 9 | Analysis of balanced faults |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S10 | 10 | Analysis of balanced faults |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S11 | 11 | Transmission line parameters |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S12 | 12 | Transmission line parameters |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S13 | 13 | Symmetrical components and unbalanced faults |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
|  | S14 | 14 | Symmetrical components and unbalanced faults |  |  | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5 | A1-A5
| Assessment Methods, Weights in Grading Scheme, Implementation and Make-Up Rules | No | Type |  |  | Weight | LO1: Implementation Rule; LO4: Make-Up Rule
|  | A1 | Exam-Final Jury,Final Project |  |  | 40% | LO1: No electronic devices are allowed in the examinations except for calculators.; LO4: If the reason for not taking the exam is justified by the school, the student is informed about the time of the make-up exam.
|  | A2 | Quiz
|  | A3 | Homework
|  | A4 | Midterm |  |  | 40% | LO1: No electronic devices are allowed in the examinations except for calculators.; LO4: If the reason for not taking the exam is justified by the school, the student is informed about the time of the make-up exam.
|  | A5 | Project |  |  | 20% | LO1: Projects determined as part of the class are performed by the students in groups. Project demonstration is made on a day during finals week. A group report is submitted at the last day of the final exams; LO4: The student is informed about a make up project demonstration in case his/her excuse is valid and an accompanying doctors report is provided.
|  | A6 | Presentation
|  | A7 | Attendence/Interaction
|  | A8 | Class/Lab./
|  | A9 | Field Work
TOTAL
Evidence of Achievement of Learning Outcomes
| Method for Determining Letter Grade | Direct Conversion System ("DDS" in the regulation.) |  |  |  |  | LO1: Relative Evaluation ("BDS" in the regulation.)
A different method/system, not listed above, determined by the Faculty Member / Instructor (This method is explained below)
| Teaching Methods, Student Work Load | No | Method |  |  |  | LO1: Explanation; LO5: Total Hours
Time expected to be allocated by instructor
|  | 1 | Lecture |  |  |  | LO1: Class content is explained by writing on the board and with computer presentations; LO5: 42
|  | 2 | Interactive Lecture
|  | 3 | Recitation
|  | 4 | Laboratory
|  | 5 | Practical
|  | 6 | Field Work
Time expected to be allocated by student
|  | 7 | Project |  |  |  | LO1: The project is applied and reported; LO5: 42
|  | 8 | Homework
|  | 9 | Pre-class Learning of Course Material |  |  |  | LO1: Next class’ material is read before the class; LO5: 42
|  | 10 | Review of Course Material |  |  |  | LO1: Previous class material is reviewed each week; LO5: 20
|  | 11 | Studio
|  | 12 | Office Hour |  |  |  | LO1: One-to-one meetings for discussions; LO5: 20
|  | Calculated ECTS Credit(s) |  |  | Max. | 6 | LO1: Min.; LO2: 5; LO3: Grand Total; LO5: 166
IV. PART
| Instructor | Name Surname |  |  |  | Farzaneh BAGHERI
|  | E-mail |  |  |  | farzaneh.bagheri@antalya.edu.tr
|  | Phone Number |  |  |  | 5356353699
Office Number
|  | Office Hours |  |  |  | Determined during each semester, 4 hours per week
| Course Materials | Mandatory
|  | Recommended |  |  |  | Power System Analysis, H. Saadat, 3rd Edition, 2010, PSA Publishing: ISBN 9780984543809
| Other | Scholastic Honesty |  |  |  | Violations of scholastic honesty include, but are not limited to cheating, plagiarizing, fabricating information or citations, facilitating acts of dishonesty by others, having unauthorized possession of examinations, submitting work of another person or work previously used without informing the instructor, or tampering with the academic work of other students. Any for of scholastic dishonesty is a serious academic violation and will result in a disciplinary action.
|  | Students with Disabilities |  |  |  | Reasonable accommodations will be made for students with verifiable disabilities.
|  | Safety Issues |  |  |  | The course does not require any special safety precautions
|  | Flexibility |  |  |  | Circumstances may arise during the course that prevents the instructor from fulfilling each and every component of this syllabus; therefore, the syllabus is subject to change. Students will be notified prior to any changes.
Form No: ÜY-FR-1064 Yayın Tarihi:06.04.2022 Değ.No:0 Değ. Tarihi:-